## Sheet1
Results from Sanku Feeder Trials
forwarded by Felix Brooks-church
Tanz standard 5-15 (added)
Tanz standard 15-30 (total)
Testing Dates
| Iron measured with iChec, BioAnalyt |  |  | 2014-11-04 | 2014-11-13 | 2014-11-04 | 2014-11-13 | 2014-11-28 | Intertek lab results
Samples | Total Iron | Actual Added NaFe ETDA | Target Added | Iron Labor Hofmann (AAS-furnace) |  | Zinc Labor Hofmann ppm (USP 233) |  |  | Iron (ICP-MS); mg/L | Zinc (ICS-MS); mg/L
Unfortified maize flour | 11.3 | N/A | N/A |  |  |  |  | not detected | 8.779 | 3.474
Maize flour with 400ppm EV 14587 | 20.7 | 9.4 | 10 | 6 | 7.6 | 3.5 | 29.2 | 29.1
Maize flour with 500ppm EV 14587 | 22.7 | 11.4 | 10 | 6.7 | 8.4 | 4 | 29.6 | 29.4
Maize flour with 600ppm EV 14587 | 15.35 | 4.05 | 10 | 7.2 | 7.2 | 4.3 | 30.9 | not detected
Maize flour with 1000ppm EV 14587 (EV 13130) | 22.7 | 11.4 | 10 |  |  |  |  | 30.7
Intertek results
Tansanian maize flour samples | Iron (ICP-MS); mg/L | Zinc (ICP-MS); mg/L
mg/L | 8.134 | 3.369
mg/L | 8.238 | 3.194
mg/L | 8.78 | 3.752
mg/L | 7.914 | 3.335
mg/L | 10.562 | 3.6
mg/L | 9.043 | 3.596
average | 8.7785 | 3.4743
std deviation | 0.97013 | 0.20823